SECTION 098415

SPACE DIVIDER PANELS

(Design 5 by Spinneybeck)

GENERAL

DESCRIPTION OF WORK

Work Included:  Provide labor, materials and equipment necessary to complete the work of this Section including the following.

Stationary space dividers.

Related Work:  The following items are not included in this Section and are specified under the designated Sections:

Section 098414 – Suspended Divider Panels.

SUBMITTALS

Product Data:  Submit for each product indicating materials, dimensions, profiles, and color.  Include installation instructions.

Shop Drawings:  Submit shop drawings indicating plans, elevations, details of attachment, and relationship with adjacent construction.

QUALITY ASSURANCE

Manufacturer:  Minimum of 2 years manufacturing similar products.

Installer:  Minimum of 2 years installing similar products.

DELIVERY, STORAGE, AND HANDLING

Delivery:  Deliver materials in manufacturer’s original, unopened, undamaged containers with identification labels intact.

Storage and Handling:  Comply with manufacturer's recommendations for storage and handling.  Protect from weather damage.

WARRANTY

Warranty:  Provide manufacturer's standard limited warranty against defects in manufacturing.

PRODUCTS

SPACE DIVIDER PANELS

Basis-of-Design:  Design 5 by Spinneybeck, www.spinneybeck.com/design5.

Original Design:  By Erwin Hauer.

Material:  Medium density fiberboard.

Panel Size:  4’ wide by 8’ high by 2” thick (122 x 244 x 5 cm).

Panel Weight:  82 pounds (37 kg).

Standard Color:  White.

Custom Color:  As selected.

Suspension Rods (as applicable):  Two 3’ long 3/8 inch (1 cm) diameter suspension rods with zinc finish.

Leveling Feet (as applicable):  Two 2” (5 cm) diameter leveling feet.

EXECUTION

EXAMINATION

Examine existing conditions to determine that they are suitable for installation.  Proceed with installation only when unsatisfactory conditions have been corrected.

INSTALLATION

Install units in accordance with manufacturer's instructions, approved submittals, and in proper relationship with adjacent construction.

ADJUSTING AND CLEANING

Adjust units for proper position and uniform appearance.

Clean exposed and semi-exposed surfaces using materials acceptable to manufacturer.

END OF SECTION